## Slide 1: Implementing CBNAAT EQA PT round at sites level Guidance document

## Slide 2: PT Package dispatched from NTI to sites
Picture of the package from outside
Kit contains following components:
1a) Instruction Guide to CBNAAT Lab Technician
1b) Processing instruction (Job aid)
1c) 5 DTS panel tubes
1d) 5 Transfer pipettes
1e) 1 Reporting form
1f) 1 Feedback form

## Slide 3
PT panel kits dispatched from NTI to CBNAAT sites
1a) Instruction Guide to CBNAAT Lab Technician (2 pager)
1b) Processing instruction (Job Aid)- 1 page
1c) 5 DTS panel tubes

## Slide 4
PT panel kits dispatched from NTI to sites
1d) 5 Transfer pipettes
1e) Reporting form (1 page)
Continue ……………
1f) Feed back form (1 page)

## Slide 5
Data entry – Results Form…1
2018P3
First 6 letter from the Panel
2
1
3
4
5
6
9
7
8
10
12
11

## Slide 6: Data entry –Results Form cont….

## Slide 7
DTS Panel testing at CBNAAT Site- DATA entry cont….

## Slide 8
DTS Panel testing at CBNAAT Site- DATA entry cont….
Steps to retrieve calibration information from the Xpert computer
OR
Open the genexper folder xpertcalreports

## Slide 9
2a) System generated test report (pdf)
2b) Reporting form
2. CBNAAT sites have to enter the results from “System generated test report in to Reporting form” and submit PT result to IRL in given formats below within 3 working days from the data of receiving.
  2a) System generated test report
  2b) Reporting form

## Slide 10
IRL has to verify the data which was submitted by each CBNAAT site by comparing between System generate test report (PDF) and Reporting form
System generate test report (pdf)
Reporting form

## Slide 11
For Guidance please refer below link which contains Video of CBNAAT EQA implementation
Link…………………..

## Slide 12: Thank You